## Cover Page
NAIVASHA WATER & SANITATION COMPANY
CLSG SOUTHERN CBD WATER SUPPLY PROJECT
tende
OCTOBER 2024
Bills of Quantities sheet

## Grand Summary
NAIVASHA WATER & SANITATION COMPANY
Bill No | Description |  | Total Ksh.
1 | PRELIMINARY AND GENERAL ITEMS
2 | PIPELINE NETWORK IN LAKEVIEW
3 | SOUTHERN CBD NETWORK
4 | CUSTOMER CONNECTION
BILL TOTAL
| Add VAT | 16%
| Add Public Procurement Capacity Building Levy | 0.03%
TOTAL CARRIED TO FORM OF BID
SIGNATURE OF BIDDER: ……………………..…………………………………………..
NAME OF AUTHORIZED REPRESENTATIVE: ………………………………...…………
COMPANY STAMP: …………………………………...………………………..
DATE: ………………………………………….……..

## Bill 1. P & G
BILL 1 - PRELIMINARY AND GENERAL ITEMS
ITEM | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: CONTRACTUAL REQUIREMENT
A1001 | Allow for provision of Performance Security in accordance with Conditions of Contract | Item | L.S
A1002 | Allow for provision of Insurance of Works and Contractor's Equipment in accordance with the Conditions of Contract | Item | L.S
A1003 | Allow for provision of Third Party Insurance (including Employer's Property) all in accordance with the Conditions of Contract | Item | L.S
A1004 | Allow for provision of Insurance against Accident to Workmen in accordance with the Conditions of Contract | Item | L.S
A1005 | Allow a Provisional Sum of KShs. 430,000 for re-location of services by Telekom, KPLC and/or any other institution. Liaison with these Authorities will be the responsibility of the Contractor for the timely execution of the Works | Item | L.S
A1006 | Allow a Provisional Sum of KShs.2,500,000 For statutory costs for highway/rural roads urban roads and railway crossing .Liaison with these Authorities will be the responsibility of the Contractor for the timely execution of the Works | Item | L.S
B1001 | Allow a Provisional Sum of KES 55,000 for additional Survey Works, if required, as directed by the Engineer. | Item | P.C
B1002 | Allow a sum of for factory inspection of pipes, fittings, mechanical & electrical plant manufacturing by the Engineer and Employer. | Item | L.S
B1003 | Allow a Sum of KES 70,000 for a project sign post, and an additional sum of 70,000 for Branding works | Item | L.S
B1004 | Allow for any costs associated with compliance with environmental, health, and safety requirements as specified in the Environmental and Social Management Plan (ESMP) contained in Clause 706.6 of the Technical specifications of bid document (Annex IV) as required by government agencies and prevailing legislation. The cost under this item to include quarterly environmental audit in the ESMP by a registered Lead Expert. | Item | L.S
B1005 | Allow a sum of KES. 800,000 for project administration and supervision to be expended as directed by the Engineer | Item | L.S
B1006 | Allow for contractors overhead and profits for item A1005,A1006,B1001 to B1005 | item | 15%
| PAGE TOTAL CARRIED TO TO BILL 1 COLLECTION |  |  |  | 0
BILL 1 - PRELIMINARY AND GENERAL ITEMS
ITEM | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
BILL 1 Collection Page
Total Page 1
BILL 1 COLLECTION CARRIED TO GRAND SUMMARY
s

## Bill 2. Lakeview Network
BILL 2 - PIPELINE NETWORK IN LAKEVIEW
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: GENERAL ITEMS
Specified Requirements
Hydrostatic Pressure Testing
A2001 | Rate to include for all pipe pressuring kit complete with water and pressure gauges. Pressure testing shall be at distances n.e 500m for all laid pipes before offtakes are carried out or as shall be agreed by the Client's engineer | m | 6240
Provision for specific Items
A2002 | Provisional for excavation in soft rock | m3 | 31
A2003 | Provisional for excavation in hard rock | m3 | 23
A2004 | Provisional Sum for Cutting, plancement of appropriate black pipe sleaves and reinstatement of murram roads within Naivasha Town | m | 180
A2005 | Provisional Sum for removal, excavation and reistatement of paved areas within Naivasha Town | m2 | 68
CLASS B:PIPEWORK-PIPES
DISTRIBUTION HDPE PIPE
Provide, lay, joint and test the following HDPE pipe and fittings.Rates to include for all jointly materials, cutting wastage and anchorage.
Note: The following have been used on the drawings to specify pipe diameters/types/classes. Pipe dimensions/working pressures shall conform to KS-06-149 Part 2:2000.
B2001 | HDPE Cold water pipe, DN 63mm, PN 16. | m | 2540
B2002 | Ditto but for 50mm | m | 1080
B2003 | Ditto but for 40mm | m | 1160
B2004 | Ditto but for 32mm | m | 1460
EXCAVATIONS
Rates for excavation and backfilling in trench shall include for trimming trench bottom and for providing selected bedding and surround materials from the excavations with the specifications. Depth of excavation not exceeding 1.5m unless otherwise specified
B2005 | Excavation and backfilling in normal material for Dia 63 mm pipe for depth n.e 1.8 m | m | 2540
B2006 | Ditto but for 50mm | m | 1080
B2007 | Ditto but for 40mm | m | 1160
B2008 | Ditto but for 32mm | m | 1460
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS C:DISTRIBUTION LINE FITTINGS & VALVES
Rates shall include for supply, Installation, anchoring and testing the fittings. Flanged fittings to come complete with bolts, nuts and gaskets.
OFFTAKES
C2001 | Double Flanged Fabricated Steel pipe: 0.5m long, 63mm Dia. PN 16. | Pcs | 5
ADAPTORS
C2002 | 63mm HDPE Compressed male adaptor, PN 16 | Pcs | 9
C2003 | Ditto but 50mm | Pcs | 14
C2004 | Ditto but 40mm | Pcs | 13
C2005 | Ditto but 32mm | Pcs | 17
VALVES
C2006 | 2'' Peglar Gate Valve | Pcs | 9
C2007 | 1.5'' Peglar Gate Valves, | Pcs | 11
C2008 | Ditto but 1.25'' | Pcs | 14
C2009 | Ditto but 1''' | Pcs | 17
ELBOWS
C2010 | 63mm HDPE Compressed elbow, PN 16 | No | 14
C2011 | Ditto but 50mm | No | 16
C2012 | Ditto but 40mm | No | 17
C2013 | Ditto but 32mm | No | 14
REDUCERS
C2014 | 63x40mm HDPE Compressed Reducer | Pcs | 17
C2015 | 63x32mm HDPE Compressed Reducer | Pcs | 16
C2016 | 50x40mm HDPE Comressed reducer | Pcs | 19
C2017 | 50x32mm HDPE Comressed reducer | Pcs | 11
C2018 | 40x32mm HDPE Comressed reducer | Pcs | 14
SADDLE CLAMPS (HDPE)
C2019 | 63mm x 1.25'' Saddle Clamp, PN 16 | Pcs | 18
C2020 | Ditto but 63mm x 1'' | Pcs | 20
C2021 | 40mm x 1'' HDPE Saddle Clamp, PN 16 | Pcs | 11
C2022 | 50mm x 1'' HDPE Saddle Clamp | Pcs | 18
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
HEX NIPPLES
C2023 | 2'' hexagonal nipple | Pcs | 17
C2024 | Ditto but 1.5'' | Pcs | 10
C2025 | Ditto but 1.25'' | Pcs | 20
C2026 | Ditto but 1'' | Pcs | 25
TEES
C2027 | 32mm HDPE Compressed tee | Pcs | 21
C2028 | Ditto but 40mm | Pcs | 17
C2029 | Ditto but 50mm | Pcs | 10
C2030 | Ditto but 63mm | Pcs | 18
HDPE END COUPLERS
C2030 | 50mm HDPE Compression end couplers | Pcs | 23
C2031 | Ditto but 32mm | Pcs | 21
C2032 | Ditto but 40mm | Pcs | 18
C2033 | Ditto but 63mm | Pcs | 11
AIR VALVES
C2034 | ARI - D040 PN 16, 1.5'' Threaded air valve | No | 2
C2035 | 90mm x 1.5" HDPE Saddle clamp, PN 16 | Nr | 2
C2036 | 1.5'' G.I Hex Nipple, PN 16 | Nr | 2
C2037 | 1.5'' Peglar gate valves, PN 16 | Nr | 2
s
OFFTAKE WATER METERS
C2038 | 2'' Cold Water Meter, R 160 | Pcs | 6
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS D: Chambers and Pipe Markers
Chambers, ducts, culverts, crossings, thrust, anchor blocks, reinstatement and others pipework ancillaries
Valve Chambers- Internal Dimensions to fit as detailed on Drawing
Note:- Items for Work in this class shall include:- i. Excavation, preparation of surfaces, disposal of surplus excavated material, shoring sides of excavation, backfilling and removal of redundant services. ii. Concrete, Reinforcement, Formwork, Joints and Finishes. iii. Include for supply and fixing of removable precast concrete cover slab, mild steel frame, lifting / opening mechanism, step irons, compacted granular fill, rendering of exposed blockwork etc;. iv.Tips for disposal of excavated material or debris to be identified by the Contractor in liaison with the Local Authorities.
CHAMBERS
D2001 | Excavate for, provide all materials and construct complete, chambers for valves, meters and Washouts. Internal dimensions 1200 x 800 x 1200 mm. Rates to include for all thrust blocks , pipe supports, locable composite inspection covers, etc as detailed in the drawings. | No | 11
PIPE MARKERS
D2002 | Fabricate and install pipe and pipe appertenances markers as shown in the drawing and shall be directed by the project supervisor | No | 15
ROAD CROSSING
D2003 | Breaking up, temporary and permanent reinstatement of road to MOPW standards for water lines crossing. Allow for placement of black pipe sleaves for the water lines | m | 50
D3004 | 110mm Golden brown KS ISO 4435: 2003 SN 8, SDR 34 complete with Rubber rings | m | 50
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
BILL 2 Collection Page
|  | 1 | 1
Total Page 1
| Total Page 2 | 1 | 1
| Total Page 3 | 1 | 1
| Total Page 4 | 1 | 1
PAGE TOTAL CARRIED TO SUMMARY PAGE

## Bill 3, SOUTHERN CBD Network
BILL 3 - SOUTHERN CBD NETWORK
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: GENERAL ITEMS
Specified Requirements
Testing of works
A3001 | Allow for hydrostatic pressure testing as specified for all the pipelines constructed under the contract to the satisfaction of the Engineer. | m | 2300
A3002 | Provisional Sum for Cutting placement of DN 200 Waste water upvc class 41 sleaves and reignstatement of murram roads within Naivasha Town. Rate shall include all relevant authorities levies and supervision costs. | m | 170
A3003 | Provisional Sum for removal, excavation and reistatement of paved areas within Naivasha Town | m2 | 325
Trafic Control and General Clearance
A3004 | Allow for temporary works for diversion of traffic during construction of pipelines across roads, including sign posting, liaison with Traffic Police Department, Local Authority construction of diversion roads etc. all to the satisfaction of the Engineer. Include provision for maintaining temporary vehicular access to individual plots at all times. | LS | 1
A3005 | Allow for keeping trenches and other excavation free of water which may have entered through ground seepage, rain or by other means as directed by the Engineer. | LS | 1
A3006 | General clearance along the pipeline parth, width n.e 1.5m | ha | 0.345
Cutting of Trees
A3007 | Girth 0.5m - 1.0m | Nr | 4
CLASS B: PIPEWORK - PIPES
Supply, handle, lay, joint and test the following HDPE pipe and fittings.Rates to include for all jointly materials, cutting wastage and anchorage.
Note: The following have been used to specify pipe diameters/types/classes. Pipe dimensions/working pressures shall conform to KS-06-149 Part 2:2000.
High Density Polyethylene Pipes HDPE 100 SDR 17 , ISO 4427:2007 with Butt Fusion (seamless) Jointing
B3001 | DN 160mm PN 16 | m | 1800
B3002 | DN 110mm PN 16 | m | 500
PAGE TOTAL CARRIED TO COLECTION PAGE
BILL 3 - SOUTHERN CBD NETWORK
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
Transport from Site Store, Lay and Joint Pipes in Trench, Include for Excavation, Preparation of Surfaces, Disposal of Excavated Material, Shoring Sides of Excavation trenches, Backfilling and final Reinstatement.
Rates for excavation and backfilling in trench shall include for trimming trench bottom and for providing selected bedding and surround materials from the excavations with the specifications. Depth of excavation not exceeding 1.8m unless otherwise specified
B3003 | DN 160mm in trenches depth 1.5m - 2.0m | m | 1800
B3004 | Ditto but for 110mm | m | 500
B3005 | Provisional for excavation in hard rock | m3 | 22.5
B3006 | Provisional for excavation in soft rock | m3 | 40
CLASS C: PIPEWORK - FITTINGS AND VALVES
Rate to Include supply and installation, complete with all installation sundries such as gaskets, bolts, nut thread tapes etc and all anchoring works
Valves
C3001 | 6'' AVK Sluize Valve | nr | 3
C3002 | Ditto But 4'' | nr | 4
Offtakes
C3003 | 160mm HDPE butt fussed Stub End flanges | nr | 3
C3004 | Double Flanged Fabricated Steel pipe: 0.5m long, 160mm Dia. PN 16. | nr | 3
C3005 | 160mm HDPE butt fussed end Cap | nr | 1
ADAPTORS
C3006 | 110mm Hex. Flanges | nr | 2
ELBOWS
C3007 | 160mm 45deg Butt fussed HDPE Elbow, PN 16 | nr | 6
C3008 | Ditto but 110mm | nr | 4
FLANGE ADAPTORS
C3009 | 160 mm HDPE Compressed reducer | nr | 6
C3010 | Ditto but 110mm | nr | 4
PAGE TOTAL CARRIED TO COLECTION PAGE
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
SADDLE CLAMPS (HDPE)
C3011 | 160mm x 1.25'' HDPE Saddle Clamp, PN 16 | nr | 2
C3012 | Ditto but 160mm x 1.5'' | nr | 2
C3013 | Ditto but 160mm x 2'' | nr | 6
C3014 | Ditto but 160mm x 4'' | nr | 2
C3015 | Ditto but 160mm x 3" | Pcs | 1
C3016 | Ditto But 110mm x 3'' | Pcs | 2
HEX NIPPLES
C3017 | 4'' hexagonal nipple | Pcs | 3
TEES
C3018 | 110mm Butt Fussed Tee | Pcs | 4
HDPE END COUPLERS
C3019 | 160mm HDPE Butt Fussed End Cap, Pn 16 | Pcs | 1
OFFTAKE WATER METER
C3020 | Ditto but 6'', R 160 | Pcs | 2
C3021 | Ditto but 4'' | Pcs | 7
Air valve
C3022 | ARI - D040 PN 16, 3'' Threaded air valve | No | 3
C3023 | 160 mm x 1.5" HDPE Saddle clamp, PN 16 | Nr | 3
C3024 | 1.5'' G.I Hex Nipple, PN 16 | Nr | 3
C3025 | 1.5'' Peglar gate valves, PN 16 | Nr | 3
PAGE TOTAL CARRIED TO COLECTION PAGE
BILL 3 - SOUTHERN CBD NETWORK
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS D: Chambers and Pipe Markers
Chambers, ducts, culverts, crossings, thrust, anchor blocks, reinstatement and others pipework ancillaries
Valve Chambers- Internal Dimensions to fit as detailed on Drawing
Note:- Items for Work in this class shall include:- i. Excavation, preparation of surfaces, disposal of surplus excavated material, shoring sides of excavation, backfilling and removal of redundant services. ii. Concrete, Reinforcement, Formwork, Joints and Finishes. iii. Include for supply and fixing of removable precast concrete cover slab, mild steel frame, lifting / opening mechanism, step irons, compacted granular fill, rendering of exposed blockwork etc;. iv.Tips for disposal of excavated material or debris to be identified by the Contractor in liaison with the Local Authorities.
D3001 | Excavate for, provide all materials and construct complete, chambers for valves, meters and Washouts. Internal dimensions 1200 x 800 x 1200 mm. Rates to include for all thrust blocks , pipe supports, locable composite inspection covers, etc as detailed in the drawings. | No | 7
D3002 | Ditto but 2500 x 1200 x1200mm | No | 1
Crossings
D3003 | Breaking up, temporary and permanent reinstatement of road to MOPW standards for water lines crossing. | m | 90
D3004 | 200mm Golden brown KS ISO 4435: 2003 SN 8, SDR 34 complete with Rubber rings | m | 90
Micro-tunneling below bituminous roads
Rates quoted shall be deemed to include for costs incurred on traffic control, signage and safety measures during execution of the works and provision and installation of appropriate UPVC waste waterpipe sleeves
D3005 | Microtunnelling through roads. Cost to include civil and concrete works | m | 150
D3006 | DN 200mm KS ISO 4435: 2003 SN 4, SDR 41sleeve (TARMAC ROAD) | m | 150
Other Pipework Ancillaries
D3005 | Fabricate and install pipe appertenances markers as shown in the drawing and shall be directed by the project supervisor | No | 8
PAGE TOTAL CARRIED TO COLECTION PAGE
BILL 3 - SOUTHERN CBD NETWORK
ITEM NO. | DESCRIPTION |  |  |  | AMOUNT (KShs)
BILL 2 Collection Page
Total Page 1
Total Page 2
Total Page 3
Total Page 4
PAGE TOTAL CARRIED TO SUMMARY PAGE

## Bill 4.Customer connections
BILL 4 - CUSTOMER CONNECTION
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS A: CUSTOMER CONNECTION FITTINGS
Procure ,transport, handle, install and test pipes, meters and fittings for customer connections. Rates to include all installation sundries.
PIPES
A4001 | 25mm Dia Aqua PP-R Pipe, Class A, 1/10Bar, S. 2.5. | m | 11000
A4002 | HDPE pipe, DN 32mm, PN 16. | m | 1200
ELBOWS
A4003 | 25mm PP-R plain elbow | Pcs | 2200
A4004 | 25mm x 0.5'' PP-R Male elbow | Pcs | 1100
A4005 | 25mm x 0.5'' PP-R Female elbow | Pcs | 1100
ADAPTORS
A4006 | 25mm x 0.5'' PP-R Male Adaptor | Pcs | 1100
A4007 | 25mm x 3/4'' PP-R Male Adaptor | Pcs | 1100
A4008 | 25mm PPR Socket | Pcs | 1100
GATE VALVES
A4009 | 1/2'' Peglar gate valve | Pcs | 1100
A4010 | Ditto but 3/4'' | Pcs | 1150
A4011 | Ditto but 1'' | Pcs | 40
A4012 | Ditto but 1.25'' | Pcs | 30
A4013 | Ditto but 1.5'' | Pcs | 30
SADDLE CLAMPS
A4014 | 32mm x 3/4'' HDPE Saddle Clamp, PN 16 | Pcs | 1100
A4015 | 40mm x 3/4'' HDPE Saddle Clamp, PN 17 | Pcs | 50
A4016 | 50mm x 3/4'' HDPE Saddle Clamp, PN 18 | Pcs | 50
A4017 | 63mm x 3/4'' HDPE Saddle Clamp, PN 19 | Pcs | 40
A4018 | 50mm x 1'' HDPE Saddle Clamp, PN 18 | Pcs | 30
A4019 | 63mm x 1'' HDPE Saddle Clamp, PN 19 | Pcs | 20
NIPPLES
A4020 | 3/4'' Hex Nipple | Pcs | 1100
CONSUMABLES
A4021 | PE Thread tape | Pcs | 1100
TOTAL OF CUSTOMER CONNECTION FITTINGS
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
CLASS B:CONSUMER METERS
B4001 | DN 15mm, Cold Water meter, R 200H. Copolymer body, come complete with meter liners and intergrated plastic inlet filter. (Aquila/Diehl) PN 16. | PCS | 1100
B4002 | Ditto but 3/4'' | PCS | 50
B4003 | Ditto but 1'' | PCS | 40
B4004 | Ditto but 1.25'' | PCS | 30
B4005 | Ditto but 1.5'' | PCS | 30
B4006 | Ditto but 2'', R 160 | PCS | 20
B4007 | Ditto but 2.5'' | PCS | 8
B4008 | Ditto but 3'' | PCS | 8
B4009 | Ditto but 4'' | PCS | 8
B4010 | Plastic 25mm water meter tamper proof seals | PCS | 2100
TOTAL OF CONSUMER METER CONNECTION
ITEM NO. | DESCRIPTION | UNIT | QTY | RATE (KShs) | AMOUNT (KShs)
BILL 4 Collection Page
Total for customer connection fittings
Total for consumer Meters
PAGE TOTAL CARRIED TO SUMMARY PAGE